## Slide 1: Interpretation of Solar Magnetic Field Strength Observations
R. K. Ulrich1 · L. Bertello1 · J. E. Boyden1 · L. Webster1
1 Department of Physics and Astronomy, University of California at Los Angeles email: ulrich@astro.ucla.edu

## Slide 2: Measuring Magnetic Fields
What is the relationship between different spectral lines and their spectral/polarimetric properties?
What magnetic field is most appropriate?
How do different instrument/observatory configurations relate to each other and to the most appropriate magnetic field?
Is there such a thing as a “Saturation Factor Correction”?

## Slide 3: Definitions
Spectral line and sampling: l±dl, a± n
This study uses six combinations:
  λ5250 Å ±39 mÅ
  λ5233 Å ±9 mÅ
  λ5233 Å ±29 mÅ
  λ5233 Å ±84 mÅ
  λ5233 Å ±102 mÅ
  λ5233 Å ±177 mÅ

## Slide 4: Original Concept:
  The basic idea was to use the spectral line λ5233 Å ±84 mÅ as the definitive reference. Because the line wings are straight over a large stretch of the profile, and because the sampling separation was far enough away from the line core, this would provide the desired reference.

## Slide 5: Scatter Diagram 1
This was to be the definitive relationship.

## Slide 6: Scatter Diagram 2
Surprise! The “definitive” line gives a bunch of different answers.

## Slide 7: Scatter Diagram 3

## Slide 8: Is there a “Saturation Factor”?
Answer: Not really.

## Slide 9: Now What?
Measure line profiles and study the Zeeman Splitting as a function of position on the line.

## Slide 10: Two ways to measure field – Stokes V and Bisector displacement
The Stokes V magnetic field requires knowledge of the line slope which may be different in a magnetized region.

## Slide 11: Flux-tube Line Profile Differs from the Quiet Sun Line Profile
We can estimate the profile in the flux tube by integrating the Stokes V profile. The result does not have equal implied continuum level on the blue and red sides. The line wings are much reduced in the integrated Stokes V profile.

## Slide 12: How are the different measurements related?
Selected line scan results are compared for different center to limb angles r. The solid lines give the symmetric Stokes V magnetic fields, the dashed lines give the bisector magnetic fields and the symbols show a set of relative field strengths based on an arbitrary scale but the relative field strengths from the scatter diagram slopes.

## Slide 13: Multiple Line Scans were Used with Different r and Field Strength
Each of the Stokes V plots has been adjusted to be as if the field were always of the same sign. Many cases the field was so weak that the point would normally be called unmagnetized.

## Slide 14: Dependence of the profile factor y on field strength
The parameter y is the ratio of the bisector field strength at ±29 mÅ versus the Stokes V field strength at ±84 mÅ. The bisector field strength at the ±29 mÅ point is recommended because it is closest to the core without being unduly influenced by noise.

## Slide 15: The Final Result
Taking the scatter diagrams as giving the Stokes V magnetic field and using the result that y=0.75, the final scale factor by which the 5250 magnetic fields need to be multiplied is shown to the right.

## Slide 16: How do we work with HMI?
The line at l6173Å is not accessible to the setup for the synoptic observations. We cannot make simultaneous observations with this line and l5250Å or l5233Å.
l6173.3Å is in multiplet 62 of FeI. The line at l6151.6Å is also in this multiplet with a smaller ge value.
The line ratio method can be used along with a line modeling calculation to estimate the magnetic field strength.
We require new blocking filters.
If regular observations were to be made of these lines, we will require a new filter holder system.
The sun needs to remember how to make sunspots for this study to be necessary.
We may not be able to do this work without a return to our normal staffing level.